## Rev 0
Project Cost Worksheet Jan 2024 - Multiple Qty | [7 empty] | 01/08/24 Version
Customer: | [8 empty] | Engr Cost Rate | 79.75
Project Name: |  | Notes: Spreadsheet will take engineering labor for first unit and spread out this cost over the total number of units. Cost of onsite installation occurs only once. | [6 empty] | Assy Cost Rate | 30.5
Project Number:
Date:
Prepared By:
Rev 0:
PARTS (for one unit)
Description | Manufacturer | Part Number | Quantity | Cost/Ea | Total Cost | Margin |  | SubTotal | Notes:
250A Main Breaker | Eaton | HMCP250R5C | 1 | 580 | 580 | 25% |  | 773.3333
250A Soft Starter | ABB | PSTX250-600-70 | 1 | 2850 | 2850 | 25% |  | 3800
Control Transformer 500VA | Acme | T-1-53013 | 1 | 95 | 95 | 25% |  | 126.6667
Reversing Contactors | Allen-Bradley | 100-C60D10 | 2 | 185 | 370 | 25% |  | 493.3333
Custom MCC Door | Custom Fabrication | - | 1 | 350 | 350 | 25% |  | 466.6667
Custom Back Panel | Custom Fabrication | - | 1 | 180 | 180 | 25% |  | 240
LOTO Door Handle | Hoffman | AHL2 | 1 | 56 | 56 | 25% |  | 74.6667
Red Pilot Light (Forward) | Allen-Bradley | 800T-QH2A | 1 | 45 | 45 | 25% |  | 60
Green Pilot Light (Reverse) | Allen-Bradley | 800T-QG2A | 1 | 45 | 45 | 25% |  | 60
White Pilot Light (Power) | Allen-Bradley | 800T-QW2A | 1 | 45 | 45 | 25% |  | 60
HOA Selector Switch | Allen-Bradley | 800T-H33A | 1 | 65 | 65 | 25% |  | 86.6667
Push Button (Forward) | Allen-Bradley | 800T-A2A | 1 | 38 | 38 | 25% |  | 50.6667
Push Button (Reverse) | Allen-Bradley | 800T-A2A | 1 | 38 | 38 | 25% |  | 50.6667
Softstarter Keypad | ABB | PSTX-KP | 1 | 240 | 240 | 25% |  | 320
Terminal Blocks | WAGO | 2002-1301 | 20 | 3.5 | 70 | 25% |  | 93.3333
DIN Rail | WAGO | - | 2 | 8 | 16 | 25% |  | 21.3333
Wire Duct (2ft) | Panduit | G1X1LG6 | 4 | 12 | 48 | 25% |  | 64
Wire Labels and Ferrules | Panduit | - | 1 | 30 | 30 | 25% |  | 40
Wiring Accessories (Zip ties, lugs, etc.) | Panduit | - | 1 | 40 | 40 | 25% |  | 53.3333
Filter Fan Kit | Pfannenberg | PFK12345 | 1 | 110 | 110 | 25% |  | 146.6667
Exhaust Filter | Pfannenberg | EFK54321 | 1 | 35 | 35 | 25% |  | 46.6667
Fan Thermostat | Pfannenberg | TH100 | 1 | 32 | 32 | 25% |  | 42.6667
Engraved Nameplates | Custom | - | 1 | 45 | 45 | 25% |  | 60
Misc Hardware (Screws, Standoffs) | Generic | - | 1 | 25 | 25 | 25% |  | 33.3333
Special Software |  |  | 1 | 0 | 0 | 25% |  | 0
Special Tools |  |  | 1 | 0 | 0 | 25% |  | 0
Contingency |  |  | 1 | 0 | 0 | N/A |  | 0
TOTAL PARTS |  |  |  |  | 5448 | Cost | 0 | 7264 | Sell
ENGINEERING (for total qty)
Task | # of DWG / Tasks | Hrs per DWG/Task | Total Hrs | Cost Rate | Total Cost | Sell Rate |  | Total Sell | Notes:
Research/ Proposal (include pre-sales meetings) | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Project Management | 0 | 0 | 0
Purchasing, Order Entry and EO | 1 | 1 | 1 | 25 | 25 | 75 |  | 75 | (Not incl in engr hrs total)
Vendor Liaison | 1 | 1 | 1 | 79.75 | 79.75 | 195 |  | 195
Structure BOMs | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Meetings / Cadence Calls | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Mechanical Design | 0 | 0 | 0
Conceptual Design (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 |  | 0
Detail Drawings (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 |  | 0
Assembly Drawings (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 |  | 0
Electrical Design | 0 | 0 | 0
Conceptual Design (Elec) | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Schematics | 4 | 3 | 12 | 79.75 | 957 | 195 |  | 2340
Layout Drawings | 2 | 2 | 4 | 79.75 | 319 | 195 |  | 780
Wiring Diagrams | 2 | 3 | 6 | 79.75 | 478.5 | 195 |  | 1170
Wire Pull List/Conduit Sched | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Network Diagram | 0 | 0 | 0 | 79.75 | 0 | 195 |  | 0
As-Built Drawings | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Software Development | 0 | 0 | 0
PLC | 0 | 0 | 0 | 79.75 | 0 | 215 |  | 0
HMI | 0 | 0 | 0 | 79.75 | 0 | 215 |  | 0
VFD/Servo/Motion | 0 | 0 | 0 | 79.75 | 0 | 215 |  | 0
Vision / Robotics | 0 | 0 | 0 | 79.75 | 0 | 215 |  | 0
PC / Workstation | 0 | 0 | 0 | 79.75 | 0 | 215 |  | 0
O&M Manuals | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
Contingency | 1 | 2 | 2 | 79.75 | 159.5 | 195 |  | 390
TOTAL ENGINEERING |  |  | 0 | Hours | 3135.25 | Cost |  | 7680 | Sell
ASSEMBLY (for each)
Mechanical - frame assy/pneumatics/guarding |  |  | 1 | 30.5 | 30.5 | 110 |  | 110
Electrical - Enclosure Modifications |  |  | 2 | 30.5 | 61 | 110 |  | 220
Electrical - Panel Layout |  |  | 6 | 30.5 | 183 | 110 |  | 660
Electrical - Panel Wiring |  |  | 14 | 30.5 | 427 | 110 |  | 1540
Electrical - Machine Wiring |  |  | 2 | 30.5 | 61 | 110 |  | 220
Paint / Cleanup |  |  | 1 | 30.5 | 30.5 | 110 |  | 110
Crate & Ship |  |  | 1 | 30.5 | 30.5 | 110 |  | 110
Contingency |  |  | 0 | 30.5 | 0 | 110 |  | 0
TOTAL ASSEMBLY |  |  | 0 | Hours | 823.5 | Cost |  | 2970 | Sell
IN-HOUSE TESTING (for each)
Engineering Support - Mechanical |  |  | 0.5 | 79.75 | 39.875 | 195 |  | 97.5
Engineering Support - Electrical |  |  | 1 | 79.75 | 79.75 | 195 |  | 195
Engineering Support - Software |  |  | 0.5 | 79.75 | 39.875 | 215 |  | 107.5
Assembly Support - Mechanical Technician |  |  | 1 | 79.75 | 79.75 | 110 |  | 110
Assembly Support - Electrical Technician |  |  | 2 | 79.75 | 159.5 | 110 |  | 220
Contingency |  |  | 0 | 79.75 | 0 | 195 |  | 0
TOTAL IN-HOUSE TESTING |  |  | 0 | Hours | 398.75 | Cost |  | 730 | Sell
ON-SITE INSTALLATION / STARTUP (consider labor/travel req'd to install/startup the total qty) |  |  | 0
Engineer - Mechanical |  |  | 0 | 79.75 | 0 | 235 |  | 0
Engineer - Electrical |  |  | 0 | 79.75 | 0 | 235 |  | 0
Engineer - Software (PLC, HMI, Robot) |  |  | 0 | 79.75 | 0 | 255 |  | 0
Engineer - Software Hi Level (C#, LabView, iBA) |  |  | 0 | 79.75 | 0 | 270 |  | 0
Technician - Mechanical |  |  | 0 | 30.5 | 0 | 110 |  | 0
Technician - Electrical |  |  | 0 | 30.5 | 0 | 150 |  | 0
Customer Training |  |  | 0 | 62 | 0 | 235 |  | 0
Travel Time | 0 | hours | 0 | 79.75 | 0 | 110 |  | 0
Mileage (Spring 2023 IRS Rate) | 0 | miles | 0 | 0.655 | 0 | 1 |  | 0
Airfare (roundtrip incl bag fees) | 0 | roundtrips | 0 | 500 | 0 | 1 |  | 0
Per diem | 0 | days | 0 | 60 | 0 | 1 |  | 0
Rental Car | 0 | days | 0 | 75 | 0 | 1 |  | 0
Hotel | 0 | nights | 0 | 120 | 0 | 1 |  | 0
Materials/Tools | 0 | lot | 0 | 50 | 0 | 1 |  | 0
Outside Electrical Installation |  |  | 0 |  | 0 | 1 |  | 0
Outside Mechanical Installation |  |  | 0 |  | 0 | 1 |  | 0
TOTAL INSTALLATION |  |  | 0 | Hours | 0 | Cost |  | 0 | Sell
WARRANTY (for total qty)
Mechanical |  |  | 0 | 79.75 | 0 | 235 |  | 0
Electrical |  |  | 0 | 79.75 | 0 | 235 |  | 0
Software |  |  | 0 | 79.75 | 0 | 255 |  | 0
Travel Time | 0 | hours | 0 | 79.75 | 0 | 110 |  | 0
Mileage | 0 | miles | 0 | 0.63 | 0 | 1 |  | 0
Airfare (roundtrip incl bag fees) | 0 | roundtrips | 0 | 500 | 0 | 1 |  | 0
Per diem | 0 | days | 0 | 60 | 0 | 1 |  | 0
Rental Car | 0 | days | 0 | 75 | 0 | 1 |  | 0
Hotel | 0 | nights | 0 | 120 | 0 | 1 |  | 0
Materials | 0 | lot | 0 | 50 | 0 | 1 |  | 0
TOTAL WARRANTY |  |  | 0 | Hours | 0 | Cost |  | 0 | Sell
TOTAL PARTS (SELL) | PER UNIT |  | 0 | [5 empty] | 7264
TOTAL ENGINEERING | PER UNIT |  | 0 | [5 empty] | 548.5714
TOTAL ASSEMBLY | PER UNIT |  | 0 | [5 empty] | 2970
TOTAL IN-HOUSE TESTING | PER UNIT |  | 0 | [5 empty] | 730
TOTAL ON-SITE INSTALLATION / STARTUP | PER UNIT |  | 0 | [5 empty] | 0
TOTAL WARRANTY | PER UNIT |  | 0 | [5 empty] | 0
ADDITIONAL MARGIN / DISCOUNT | PER UNIT |  | 0 |  |  |  |  | 12% | 1569.8961
TOTAL SYSTEM PRICE |  |  | 0 | [5 empty] | 13082.4675
OUTSIDE SALES COMMISSION (MARGIN) |  |  | 0 |  |  |  |  | 1% | 132.1461
TOTAL SELL PRICE (For One Unit) |  |  | 0 | [5 empty] | 13214.6137
|  | Total # of units (qty) | [5 empty] | 14
TOTAL SELL PRICE (For the Total Quantity) |  |  | 0 | [5 empty] | 185004.5914 | total
TOTAL SELL PRICE (for each unit - spreads out Engineering, OnSite Install and Warranty costs over total qty) |  |  | 0 | [5 empty] | 13214.6137 | each
Proposal Price w/Initials and Date
Summary for Project Database |  |  | 0 |  |  | Cost/ea | Sell/ea |  | Cost/Lot | Sell/Lot
Total parts + outside service cost (cash out) |  |  | 0 |  | Hardware | 5448 | 8337.9247 |  | 76272 | 116730.9458
Total labor + travel time + add'l margin + outside commission |  |  | 0 |  | Labor | 1446.1964 | 4876.689 |  | 20246.75 | 68273.6455
Total COGS (hardware + labor) |  |  | 0 |  | COGS | 6894.1964 |  |  | 96518.75
[5 empty] | Real GP w/ commission | 6320.4172 |  |  | 88485.8414
Summary for Wrike | Est Hrs (Total) |  | 0 | Margin |  |  | 47.83% |  |  | 47.83%
01 - Project Management | 9 |  | 0 |  | Total Sell Price |  | 13214.6137 |  |  | 185004.5914
02 - Mechanical Design | 0 |  | 0
03 - Electrical Design | 26 |  | 0
04 - Software Development | 0 |  | 0
07 - Assembly | 364 |  | 0
08 - In-House Testing | 70 |  | 0
09 - Crate & Ship | 14 |  | 0
11 - As-Build Drawings / Final Docs | 4 |  | 0
12 - On-Site Installation / Startup | 0 |  | 0
Warranty (Unallocated) | 0 |  | 0

## Rate Sheet
Foresight Automation
2023 Hourly Rate Schedule
Effective April 1, 2023
Base Rates
| Office | On Site | New Customer 4-Hour Minimum
Design/Service/Repair/Training
Electrical/Mechanical Technician | --- | 150 | 580
Electrical/Mechanical Engineer | 195 | 230 | 900
Software (PLC, HMI, Robot) | 215 | 255 | 1000
Hi Level Software (LabView, C#) | 235 | 270 | 1060
Telephone Support/Remote Diag. | 210 | ---
Assembly
Electrical | 110 | ---
Mechanical | 110 | ---
----------------------------------------------------------------------------------------------------------------------------------------------
Standard Hours: 7AM - 6PM, Mon-Fri
After Hours and Saturday rate: Base Rate times 1.50
Sunday and Holiday rate: Base Rate times 2.0
Overtime Rates apply after 8 working hours during Standard Hours
Minumum Field Service call out and Telephone/Remote Support = 2 hrs (excludes travel)
Travel Rate = $105/hour
Mileage: prevailing IRS rate ($.655/mi.)
Per diem rate for meals/incidentals (for onsite work >60 miles from 76111): $60/day
Hotel / airfare / rental car / fuel expenses billed at cost + 10%
Emergency breakdown support is offered on an "as available" basis.
To reach our Emergency Breakdown Center, dial 817-759-1312 and follow the recorded prompts.
Emergency Breakdown Service: Add $500 ($750 for Sunday/Holiday) Emergency Breakdown Fee
Customer payment terms beyond FAI standard (NET 30) will result in an addition 1.5% per mo. surcharge