## Parts List
Description | Manufacturer | Part Number | Quantity | Cost/ea | Margin | Total Cost | Subtotal
250A Main Breaker | Eaton | HMCP250R5C | 1 | 580 | 25 | 580 | 725
250A Soft Starter | ABB | PSTX250-600-70 | 1 | 2850 | 25 | 2850 | 3562.5
Control Transformer 500VA | Acme | T-1-53013 | 1 | 95 | 25 | 95 | 118.75
Reversing Contactors | Allen-Bradley | 100-C60D10 | 2 | 185 | 25 | 370 | 462.5
Custom MCC Door | Custom Fabrication | - | 1 | 350 | 25 | 350 | 437.5
Custom Back Panel | Custom Fabrication | - | 1 | 180 | 25 | 180 | 225
LOTO Door Handle | Hoffman | AHL2 | 1 | 56 | 25 | 56 | 70
Red Pilot Light (Forward) | Allen-Bradley | 800T-QH2A | 1 | 45 | 25 | 45 | 56.25
Green Pilot Light (Reverse) | Allen-Bradley | 800T-QG2A | 1 | 45 | 25 | 45 | 56.25
White Pilot Light (Power) | Allen-Bradley | 800T-QW2A | 1 | 45 | 25 | 45 | 56.25
HOA Selector Switch | Allen-Bradley | 800T-H33A | 1 | 65 | 25 | 65 | 81.25
Push Button (Forward) | Allen-Bradley | 800T-A2A | 1 | 38 | 25 | 38 | 47.5
Push Button (Reverse) | Allen-Bradley | 800T-A2A | 1 | 38 | 25 | 38 | 47.5
Softstarter Keypad | ABB | PSTX-KP | 1 | 240 | 25 | 240 | 300
Terminal Blocks | WAGO | 2002-1301 | 20 | 3.5 | 25 | 70 | 87.5
DIN Rail | WAGO | - | 2 | 8 | 25 | 16 | 20
Wire Duct (2ft) | Panduit | G1X1LG6 | 4 | 12 | 25 | 48 | 60
Wire Labels and Ferrules | Panduit | - | 1 | 30 | 25 | 30 | 37.5
Wiring Accessories (Zip ties, lugs, etc.) | Panduit | - | 1 | 40 | 25 | 40 | 50
Filter Fan Kit | Pfannenberg | PFK12345 | 1 | 110 | 25 | 110 | 137.5
Exhaust Filter | Pfannenberg | EFK54321 | 1 | 35 | 25 | 35 | 43.75
Fan Thermostat | Pfannenberg | TH100 | 1 | 32 | 25 | 32 | 40
Engraved Nameplates | Custom | - | 1 | 45 | 25 | 45 | 56.25
Misc Hardware (Screws, Standoffs) | Generic | - | 1 | 25 | 25 | 25 | 31.25

## Engineering Labor
Task | # of DWG / Tasks | Hrs per DWG/Task | Total Hrs | Cost Rate | Total Cost | Sell Rate | Total Sell
Research/ Proposal (include pre-sales meetings) | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Purchasing, Order Entry and EO | 1 | 1 | 1 | 25 | 25 | 75 | 75
Vendor Liaison | 1 | 1 | 1 | 79.75 | 79.75 | 195 | 195
Structure BOMs | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Meetings / Cadence Calls | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Conceptual Design (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 | 0
Detail Drawings (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 | 0
Assembly Drawings (Mech) | 0 | 0 | 0 | 79.75 | 0 | 195 | 0
Conceptual Design (Elec) | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Schematics | 4 | 3 | 12 | 79.75 | 957 | 195 | 2340
Layout Drawings | 2 | 2 | 4 | 79.75 | 319 | 195 | 780
Wiring Diagrams | 2 | 3 | 6 | 79.75 | 478.5 | 195 | 1170
Wire Pull List/Conduit Sched | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Network Diagram | 0 | 0 | 0 | 79.75 | 0 | 195 | 0
As-Built Drawings | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
PLC | 0 | 0 | 0 | 79.75 | 0 | 215 | 0
HMI | 0 | 0 | 0 | 79.75 | 0 | 215 | 0
VFD/Servo/Motion | 0 | 0 | 0 | 79.75 | 0 | 215 | 0
Vision / Robotics | 0 | 0 | 0 | 79.75 | 0 | 215 | 0
PC / Workstation | 0 | 0 | 0 | 79.75 | 0 | 215 | 0
O&M Manuals | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390
Contingency | 1 | 2 | 2 | 79.75 | 159.5 | 195 | 390

## Assembly Labor
Task | Hours | Cost Rate | Sell Rate | Total Cost | Total Sell
Mechanical - frame assy/pneumatics/guarding | 1 | 75 | 125 | 75 | 125
Electrical - Enclosure Modifications | 2 | 75 | 125 | 150 | 250
Electrical - Panel Layout | 6 | 75 | 125 | 450 | 750
Electrical - Panel Wiring | 14 | 75 | 125 | 1050 | 1750
Electrical - Machine Wiring | 2 | 75 | 125 | 150 | 250
Paint / Cleanup | 1 | 75 | 125 | 75 | 125
Crate & Ship | 1 | 75 | 125 | 75 | 125

## In-House Testing Labor
Task | Hours | Cost Rate | Sell Rate | Total Cost | Total Sell
Engineering Support - Mechanical | 0.5 | 90 | 145 | 45 | 72.5
Engineering Support - Electrical | 1 | 90 | 145 | 90 | 145
Engineering Support - Software | 0.5 | 90 | 145 | 45 | 72.5
Assembly Support - Mechanical Technician | 1 | 75 | 125 | 75 | 125
Assembly Support - Electrical Technician | 2 | 75 | 125 | 150 | 250